## Read Me
Monitoring Vendor
Monitoring provided by ADS Envirnmental Services.
Contact: 800-633-7246 or visit www.adsenv.com
340 The Bridge Street, Suite 204, Huntsville AL 35806
Notes:
This workbook is updated the month following an event in order to provide verified CSO event information that is not available at the time of initial public notice.
Actual overflow amounts cannot be assessed immediately and therefore are presented only in verified data reports as presented in this workbook.
Note that three-year average overflow values are used as an initial measure for immediate public notification purposes. Current values for the three-
year period ending December 31, 2022 are presented in the table below.
Montague MA 3yr overflow average - 2020 - 2022 (gallons)
7th_L_CSO | 5402
Ave_A_CSO | 25217
Greenfield_CSO | 10654

## Greenfield Road 2026
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | W1 | 131 | 0:05 | 2026-03-31 22:15 | 2026-03-31 22:20 | 0.98
April | None
May | None
June | W1 | 2215 | 0:20 | 2026-06-23 01:55 | 2026-06-23 02:15 | 0.42
July | W1 | 20862 | 1:15 | 2026-07-29 17:00 | 2026-07-29 18:15 | 2.08
August | W1 | 27306 | 1:20 | 2026-08-03 04:35 | 2026-08-03 05:55 | 1.98
September
October
November
December
|  | 50514 | 0.125 |  |  | 5.46
Formulas:
Duration = SUM(D5:[Duration, row above])

## 7th&L 2026
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | None
February | None
March | W1 | 154 | 0:05 | 2026-03-31 21:30 | 2026-03-31 21:35 | 0.98
April | W1 | 132 | 0:10 | 2026-04-14 19:40 | 2026-04-14 19:50 | 0.29
May | None
June | W1 | 579 | 0:15 | 2026-06-23 01:15 | 2026-06-23 01:30 | 0.42
July | W1 | 64 | 0:05 | 2026-07-01 23:45 | 2026-07-01 23:50 | 0.27
| W2 | 52826 | 0:40 | 2026-07-29 16:25 | 2026-07-29 17:05 | 2.08
August | W1 | 2643.892 | 0:20 | 2026-08-03 03:55 | 2026-08-03 04:20 | 1.98
September
October
November
December
|  | 56398.892 | 0.065972 |  |  | 6.02
Formulas:
Duration = SUM(D5:[Duration, row above])

## Avenue A 2026
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | None
April | None
May | None
June | None
July | W1 | 194237.4572 | 0:40 | 2026-07-29 16:25 | 2026-07-29 17:05 | 2.08
August | W1 | 7060.775 | 0:20 | 2026-08-03 04:00 | 2026-08-03 04:20 | 1.98
September
October
November
December
|  | 201298.2322 | 0.041667 |  |  | 4.06
Formulas:
Duration = SUM(D5:[Duration, row above])

## Greenfield Road 2025
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | W1 | 15220 | 2:20 | 2025-03-05 20:45 | 2025-03-05 22:00 | 0.13
|  |  |  | 2025-03-06 01:35 | 2025-03-06 02:40
April | None
May | W1 | 1403.98 | 0:50 | 2025-05-03 15:45 | 2025-05-03 16:35 | 1.23
June | None
July | None
August | W1 | 6430 | 0:45 | 2025-08-16 17:20 | 2025-08-16 18:05 | 0.31
September | W1 | 1062.89 | 0:10 | 2025-09-06 15:45 | 2025-09-06 15:55 | 0.51
| W2 | 571.32 | 0:15 | 2025-09-25 15:50 | 2025-09-25 16:05 | 1.45
October | W1 | 1305 | 0:20 | 2025-10-31 06:25 | 2025-10-31 06:45 | 1.98
November | None
December | None
|  | 25993.19 | 0.19444 |  |  | 5.61
Formulas:
Duration = SUM(D5:[Duration, row above])

## 7th&L 2025
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | W1 | 106 | 0:15 | 2025-01-01 02:30 | 2025-01-01 02:45 | 0.71
February | None
March | W1 | 4267 | 2:00 | 2025-03-05 20:15 | 2025-03-05 21:10 | 0.77
|  |  |  | 2025-03-06 00:35 | 2025-03-06 00:50
|  |  |  | 2025-03-06 01:05 | 2025-03-06 01:55
| W2 | 288 | 0:10 | 2025-03-17 01:35 | 2025-03-17 01:45 | 0.08
April | None
May | W1 | 19077.61 | 0:25 | 2025-05-03 15:00 | 2025-05-03 15:25 | 1.23
| W2 | 199 | 0:10 | 2025-05-03 16:40 | 5/3/025 16:50 | 1.23
| W3 | 746 | 0:10 | 2025-05-04 16:45 | 5/4/025 16:55 | 1.12
June | None
July | None
August | W1 | 1100 | 0:15 | 2025-08-16 16:55 | 2025-08-16 17:10 | 0.31
September | None
October | W1 | 29 | 0:05 | 2025-10-31 05:45 | 2025-10-31 05:50 | 1.98
November | None
December | None
|  | 25812.61 | 0.14583 |  |  | 7.43
Formulas:
Duration = SUM(D5:[Duration, row above])

## Avenue A 2025
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | None
April | None
May | W1 | 34351.56 | 0:15 | 2025-05-03 15:00 | 2025-05-03 15:15 | 1.23
June | None
July | None
August | None
September | None
October | None
November | None
December | None
|  | 34351.56 | 0.010417 |  |  | 1.23
Formulas:
Duration = SUM(D5:[Duration, row above])

## All Years-Chlorine Contact (2)
This is a blended discharge that exits through the WWTP primary outfall - not a CSO outfall
Chlorine Contact |  | Total | Duration | Start | Stop | Rain
July | W1 | 29000 | 1:50 | 2022-07-19 00:05 | 2022-07-19 01:55 | 0.36
August | None
September | None
October | None
Note: 12/15/22. July events subject to verification as outfall gate is believed to have been closed

## Greenfield Road 2024
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | W1 | 588 | 1:10 | 2024-01-10 13:20 | 2024-01-10 14:30 | 1.43
February | None
March | W1 | 9563 | 1:20 | 2024-03-23 18:25 | 2024-03-23 19:45 | 2.46
April | None
May | W1 | 32939 | 2:10 | 2024-05-21 18:20 | 2024-05-21 20:30 | 1.76
| W2 | 6038 | 0:40 | 2024-05-27 14:00 | 2024-05-27 14:40 | 1.17
June | W1 | 1454 | 0:25 | 2024-06-20 20:35 | 2024-06-20 21:00 | 0.95
| W2 | 15067 | 1:55 | 2024-06-22 13:45 | 2024-06-22 15:40 | 1.33
| W3 | 742 | 0:20 | 2024-06-30 18:10 | 2024-06-30 18:30 | 0.45
July | W1 | 1006 | 0:25 | 2024-07-06 21:50 | 2024-07-06 21:55 | 0.83
|  |  |  | 2024-07-06 23:50 | 2024-07-06 23:55
|  |  |  | 2024-07-07 | 2024-07-07 00:15
| W2 | 3449 | 1:05 | 2024-07-09 21:00 | 2024-07-09 22:05 | 0.8
| W3 | 4528 | 1:15 | 2024-07-16 20:00 | 2024-07-16 21:15 | 1.28
| W4 | 353 | 0:15 | 2024-07-23 05:40 | 2024-07-23 05:55 | 0.83
| W5 | 1142 | 0:25 | 2024-07-31 17:35 | 2024-07-31 18:00 | 0.37
August | W1 | 2237 | 0:50 | 2024-08-09 20:25 | 2024-08-09 21:00 | 1.29
|  |  |  | 2024-08-10 00:10 | 2024-08-10 00:25 | 0.04
September | None
October | None
November | None
December | W1 | 9897 | 0:40 | 2024-12-11 20:40 | 2024-12-11 21:20 | 1.72
|  | 89003 |  |  |  | 16.71

## 7th&L 2024
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | None
February | None
March | None
April | None
May | W1 | 63592 | 1:10 | 2024-05-21 17:30 | 2024-05-21 18:00 | 1.76
|  |  |  | 2024-05-21 18:45 | 2024-05-21 19:25
| W2 | 25889 | 0:25 | 2024-05-27 13:20 | 2024-05-27 13:45 | 1.17
June | W1 | 1913 | 0:20 | 2024-06-20 19:50 | 2024-06-20 20:10 | 0.95
| W2 | 52000 | 1:00 | 2024-06-22 13:05 | 2024-06-22 13:45 | 1.33
|  |  |  | 2024-06-22 14:25 | 2024-06-22 14:45
| W3 | 2323 | 0:15 | 2024-06-30 17:25 | 2024-06-30 17:40 | 0.45
July | W1 | 20072 | 0:40 | 2024-07-06 20:50 | 2024-07-06 21:05 | 0.83
|  |  |  | 2024-07-06 23:00 | 2024-07-06 23:25
| W2 | 13254 | 0:45 | 2024-07-09 20:05 | 2024-07-09 20:25 | 0.8
|  |  |  | 2024-07-09 20:55 | 2024-07-09 21:20
| W3 | 21505 | 0:40 | 2024-07-16 19:15 | 2024-07-16 19:40 | 1.28
|  |  |  | 2024-07-16 20:00 | 2024-07-16 20:15
| W4 | 2160 | 0:15 | 2024-07-17 17:25 | 2024-07-17 17:40 | 0.56
| W5 | 6978 | 0:25 | 2024-07-23 04:45 | 2024-07-23 05:10 | 0.83
| W6 | 9464 | 0:20 | 2024-07-31 16:50 | 2024-07-31 17:10 | 0.37
August | W1 | 328 | 0:10 | 2024-08-02 23:15 | 2024-08-02 23:20 | 0.57
|  |  |  | 2024-08-03 01:05 | 2024-08-03 01:10 | 0.24
| W2 | 5516 | 0:45 | 2024-08-09 19:45 | 2024-08-09 20:10 | 1.29
|  |  |  | 2024-08-09 23:25 | 2024-08-09 23:45
| W3 | 1463 | 0:15 | 2024-08-19 18:35 | 2024-08-19 18:50 | 0.34
September | None
October | W1 | 507 | 0:25 | 2024-10-14 01:55 | 2024-10-14 02:20 | 0.89
November | None
December | W1 | 2184 | 0:10 | 2024-12-11 20:15 | 2024-12-11 20:25 | 1.72
| W2 | 22 | 0:10 | 2024-12-30 04:40 | 2024-12-30 04:50 | 0.69
|  | 229170 | 0.34028 |  |  | 16.07

## Avenue A 2024
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | None
April | None
May | W1 | 162059 | 0:45 | 2024-05-21 17:35 | 2024-05-21 17:45 | 1.76
|  |  |  | 2024-05-21 18:50 | 2024-05-21 19:25
| W2 | 87165 | 0:20 | 2024-05-27 13:25 | 2024-05-27 13:45 | 1.17
June | W1 | 17 | 0:05 | 2024-06-20 20:00 | 2024-06-20 20:05 | 0.95
| W2 | 147817 | 0:35 | 2024-06-22 13:10 | 2024-06-22 13:40 | 1.33
|  |  |  | 2024-06-22 14:30 | 2024-06-22 14:35
| W3 | 214 | 0:05 | 2024-06-30 17:30 | 2024-06-30 17:35 | 0.45
July | W1 | 9583 | 0:10 | 2024-07-06 23:00 | 2024-07-06 23:10 | 0.83
| W2 | 817 | 0:10 | 2024-07-09 20:10 | 2024-07-09 20:15 | 0.8
|  |  |  | 2024-07-09 21:05 | 2024-07-09 21:10
| W3 | 23075 | 0:20 | 2024-07-16 19:20 | 2024-07-16 19:30 | 1.28
|  |  |  | 2024-07-16 20:00 | 2024-07-16 20:10
| W4 | 33774 | 0:10 | 2024-07-31 16:50 | 2024-07-31 17:00 | 0.37
August | W1 | 903 | 0:10 | 2024-08-09 19:50 | 2024-08-09 20:00 | 1.29
September | None
October | None
November | None
December | None
|  | 465424 | 0.11806 |  |  | 10.23

## All Years-Chlorine Contact
This is a blended discharge that exits through the WWTP primary outfall - not a CSO outfall
Chlorine Contact |  | Total | Duration | Start | Stop | Rain
July | W1 | 29000 | 1:50 | 2022-07-19 00:05 | 2022-07-19 01:55 | 0.36
August | None
September | None
October | None
Note: 12/15/22. July events subject to verification as outfall gate is believed to have been closed

## Greenfield Road 2023
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | W1 | 222 | 5:30 | 2023-01-26 02:30 | 2023-01-26 05:00 | 1.48
February | None
March | None
April | None
May | W1 | 4335 | 2:10 | 2023-05-20 18:50 | 2023-05-20 21:00 | 1.66
June | W1 | 4476 | 1:30 | 2023-06-14 17:25 | 2023-06-15 01:30 | 1.09
| W2 | 1553 | 0:35 | 2023-06-26 18:30 | 2023-06-26 23:05 | 0.64
July | W1 | 29 | 0:05 | 2023-07-03 03:15 | 2023-07-03 03:20 | 0.91
| W2 | 10146 | 1:45 | 2023-07-10 09:25 | 2023-07-10 11:10 | 1.7
| W3 | 11375 | 1:10 | 2023-07-13 21:50 | 2023-07-13 23:00 | 1.53
| W4 | 13488 | 3:10 | 2023-07-16 08:05 | 2023-07-16 11:15 | 2.03
|  |  | 2:35 | 2023-07-21 14:45 | 2023-07-21 17:20 | 4.54
| W5 | 78159 | 2:55 | 2023-07-21 18:50 | 2023-07-21 21:45
| W6 | 7077 | 0:40 | 2023-07-24 15:40 | 2023-07-24 16:20 | 0.88
| W7 | 907 | 0:25 | 2023-07-29 18:45 | 2023-07-29 19:10 | 0.3
August | W1 | 5307 | 0:50 | 2023-08-18 08:40 | 2023-08-18 09:30 | 0.74
| W2 | 484 | 0:15 | 2023-08-25 05:50 | 2023-08-25 06:05 | 0.93
| W3 | 683 | 0:20 | 2023-08-30 09:40 | 2023-08-30 10:00 | 0.66
September | W1 | 19650 | 1:30 | 2023-09-08 18:40 | 2023-09-08 20:10 | 1.38
October | None
November | None
December | W1 | 701 | 0:40 | 2023-12-18 11:05 | 2023-12-18 11:45 | 1.16
|  | 158592 | 26:05 |  |  | 21.63
|  | 1523244 | 45:35 |  |  | 54.43

## 7th&L 2023
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | None
February | None
March | None
April | None
May | W1 | 584 | 0:25 | 2023-05-01 01:05 | 2023-05-01 01:30 | 0.75
| W2 | 10402 | 2:25 | 2023-05-20 17:45 | 2023-05-20 20:10 | 1.66
June | W1 | 20251 | 1:10 | 2023-06-14 16:25 | 2023-06-15 00:40 | 1.09
| W2 | 11074 | 0:35 | 2023-06-26 17:30 | 2023-06-26 22:00 | 0.64
July
| W1 | 71 | 0:10 | 2023-07-10 09:05 | 2023-07-10 09:15 | 1.7
| W2 | 33519 | 0:40 | 2023-07-13 21:20 | 2023-07-13 22:00 | 1.53
| W3 | 15705 | 0:10 | 2023-07-16 06:25 | 2023-07-16 06:35 | 2.03
|  |  | 0:05 | 2023-07-16 06:45 | 2023-07-16 06:50
|  |  | 1:15 | 2023-07-16 07:30 | 2023-07-16 08:45
|  |  | 0:05 | 2023-07-16 09:30 | 2023-07-16 09:30
|  |  | 0:15 | 2023-07-16 10:15 | 2023-07-16 10:30
| W4 | 132883 | 2:10 | 2023-07-21 14:00 | 2023-07-21 16:10 | 4.54
|  |  | 0:55 | 2023-07-21 18:30 | 2023-07-21 19:25
|  |  | 0:20 | 2023-07-21 19:55 | 2023-07-21 20:15
| W5 | 2704 | 0:20 | 2023-07-24 14:55 | 2023-07-24 15:15 | 0.88
| W6 | 1538 | 0:15 | 2023-07-29 18:00 | 2023-07-29 18:15 | 0.3
August | W1 | 20437 | 0:20 | 2023-08-18 08:00 | 2023-08-18 08:20 | 0.74
| W2 | 2128 | 0:20 | 2023-08-25 05:00 | 2023-08-25 05:15 | 0.93
|  |  | 0:05 | 2023-08-25 08:05 | 2023-08-25 08:10
| W3 | 792 | 0:15 | 2023-08-30 08:55 | 2023-08-30 09:10 | 0.66
September | W1 | 54715 | 1:10 | 2023-09-08 18:00 | 2023-09-08 19:10 | 1.38
October | None
November | None
December | None
|  | 306803 | 13:25 |  |  | 18.83

## Avenue A 2023
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | None
April | None
May | None
June | W1 | 7 | 0:05 | 2023-06-15 00:20 | 2023-06-15 00:25 | 0.23
| W2 | 11 | 0:05 | 2023-06-26 22:05 | 2023-06-26 22:10 | 0.64
July | W1 | 1351 | 0:10 | 2023-07-10 09:05 | 2023-07-10 09:15 | 1.7
|  |  | 0:10 | 2023-07-10 09:45 | 2023-07-10 09:55
| W2 | 131396 | 0:35 | 2023-07-13 21:20 | 2023-07-13 21:55 | 1.53
| W3 | 24456 | 0:05 | 2023-07-16 07:35 | 2023-07-16 07:35 | 2.03
|  |  | 0:35 | 2023-07-16 08:05 | 2023-07-16 08:40
| W4 | 579742 | 1:40 | 2023-07-21 14:10 | 2023-07-21 15:50 | 4.54
|  |  | 0:50 | 2023-07-21 18:30 | 2023-07-21 19:20
|  |  | 0:15 | 2023-07-21 20:00 | 2023-07-21 20:15
| W5 | 8934 | 0:10 | 2023-07-24 15:00 | 2023-07-24 15:10 | 0.88
| W6 | 3 | 0:05 | 2023-07-29 18:05 | 2023-07-29 18:05 | 0.3
August | W1 | 78591 | 0:20 | 2023-08-18 08:00 | 2023-08-18 08:20 | 0.74
September | W1 | 233358 | 1:00 | 2023-09-08 18:00 | 2023-09-08 19:00 | 1.38
October | None
November | None
December | None
|  | 1057849 | 6:05 |  |  | 13.97

## All Years-Chlorine Contact
This is a blended discharge that exits through the WWTP primary outfall - not a CSO outfall
Chlorine Contact |  | Total | Duration | Start | Stop | Rain
July | W1 | 29000 | 1:50 | 2022-07-19 00:05 | 2022-07-19 01:55 | 0.36
August | None
September | None
October | None
Note: 12/15/22. July events subject to verification as outfall gate is believed to have been closed

## Greenfield Road 2022
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | W1 | 1097 | 0:20 | 2022-03-07 22:20 | 2022-03-07 22:40 | 0.23
| W2 | 5062 | 1:00 | 2022-03-31 22:35 | 2022-03-31 23:35 | 0.68
April | W1 | 962 | 0:20 | 2022-04-08 04:00 | 2022-04-08 04:20 | 1.09
| W2 | 2416 | 0:47 | 2022-04-19 04:58 | 2022-04-19 05:45 | 1.11
May | W1 | 182 | 0:10 | 2022-05-28 18:35 | 2022-05-28 18:45 | 0.6
June | None
July | None
August | None
September | W1 | 797 | 0:25 | 2022-09-13 19:35 | 2022-09-13 20:00 | 0.6
| W2 | 22 | 0:08 | 2022-09-19 19:56 | 2022-09-19 20:04 | 1.09
October | W1 | 91 | 0:10 | 2022-10-05 09:40 | 2022-10-05 09:50 | 0.6

## 7th&L 2022
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | None
February | W1 | 5380 | 6:15 | 2022-02-04 02:35 | 2022-02-04 08:50 | 1.19
| W2 | 2010 | 0:10 | 2022-02-18 06:40 | 2022-02-18 06:50 | 0.16
| W3 | 712 | 2:30 | 2022-02-22 18:30 | 2022-02-22 21:00 | 0.91
March | W1 | 2809 | 0:25 | 2022-03-07 21:30 | 2022-03-07 21:55 | 0.53
| W2 | 295 | 0:10 | 2022-03-19 22:15 | 2022-03-19 22:25 | 0.81
| W3 | 1077 | 1:05 | 2022-03-31 21:50 | 2022-03-31 22:55 | 0.68
April | W1 | 2734 | 2:30 | 2022-04-08 01:15 | 2022-04-08 03:45 | 1.09
| W2 | 704 | 0:55 | 2022-04-19 04:15 | 2022-04-19 05:10 | 1.11
May | W1 | 128 | 0:10 | 2022-05-28 17:45 | 2022-05-28 17:55 | 0.6
June | None
July | None
August | W1 | 2080 | 0:10 | 2022-08-22 17:35 | 2022-08-22 17:45 | 1.97
September | W1 | 67 | 0:05 | 2022-09-13 07:50 | 2022-09-13 07:55 | 0.91
| W2 | 17828 | 0:35 | 2022-09-13 18:50 | 2022-09-13 19:25
| W3 | 547 | 0:05 | 2022-09-19 17:15 | 2022-09-19 17:20 | 1.09
| W4 | 1698 | 1:00 | 2022-09-19 18:30 | 2022-09-19 19:30
| W5 | 56 | 0:05 | 2022-09-22 07:15 | 2022-09-22 07:20 | 0.88
| W6 | 740 | 0:20 | 2022-09-22 08:05 | 2022-09-22 08:25
October | W1 | 10561 | 0:25 | 2022-10-05 08:50 | 2022-10-05 09:15 | 0.085
| W2 | 463 | 0:15 | 2022-10-13 20:20 | 2022-10-13 20:35 | 0.69
| W3 | 45 | 0:05 | 2022-10-17 21:40 | 2022-10-17 21:45 | 0.32
November | W1 | 578 | 0:10 | 2022-11-11 20:05 | 2022-11-11 20:15 | 1.88
| W2 | 2758 | 0:20 | 2022-11-12 07:20 | 2022-11-12 07:40 | 0.97
December | W1 | 1623 | 0:20 | 2022-12-23 15:50 | 2022-12-23 16:00 | 1.01

## Avenue A 2022
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | W1 | 596 | 0:10 | 2022-03-07 21:40 | 2022-03-07 21:50 | 0.53
| W2 | 25630 | 0:55 | 2022-03-31 21:50 | 2022-03-31 22:45 | 0.68
April | W1 | 272 | 0:05 | 2022-04-08 03:25 | 2022-04-08 03:30 | 1.09
May | W1 | 652 | 0:05 | 2022-05-22 19:40 | 2022-05-22 19:45 | 0.53
| W2 | 70728 | 0:25 | 2022-05-28 17:45 | 2022-05-28 18:10 | 0.6
June | None
July | W1 | 299 | 0:05 | 2022-07-18 23:35 | 2022-07-18 23:40 | 0.86
July | W2 | 2948 | 0:10 | 2022-07-28 19:25 | 2022-07-28 19:38 | 0.29
August | W1 | 2080 | 0:10 | 2022-08-22 17:35 | 2022-08-22 17:45 | 1.97
September | W1 | 104118 | 0:25 | 2022-09-13 18:50 | 2022-09-13 19:15 | 0.91
| W2 | 270 | 0:05 | 2022-09-19 19:15 | 2022-09-19 19:20 | 1.09
October | W1 | 49049 | 0:35 | 2022-10-05 08:45 | 2022-10-05 09:20 | 0.85
| W2 | 8.747 | 0:05 | 2022-10-05 12:15 | 2022-10-05 12:15
| W3 | 21443 | 0:30 | 2022-10-13 20:10 | 2022-10-13 20:40 | 0.69
| W4 | 7009 | 0:20 | 2022-10-17 21:30 | 2022-10-17 21:50 | 0.32
November | W1 | 499 | 0:05 | 2022-11-12 07:25 | 2022-11-12 07:30 | 0.97
December | None

## Greenfield Road 2021
MONO001
CSO Outfall Location: 01 42° 34' 45" N 72° 34' 24" W Greenfield Road near WPCF
| Greenfield&M1 | Total | Duration | Start | Stop | Rain
January | W1 | 5175 | 1:20 | 2021-01-16 09:50 | 2021-01-16 11:10 | 1.07
February | W1 | 242 | 0:17 | 2021-02-16 09:18 | 2021-02-16 09:35 | 1.04
March | None
April | None
May | W1 | 7176 | 1:17 | 2021-05-05 02:48 | 2021-05-05 04:05 | 0.16
June | W1 | 2239 | 0:30 | 2021-06-30 17:16 | 2021-06-30 17:46 | 0.23
July | W1 | 3639 | 0:34 | 2021-07-08 12:30 | 2021-07-02 13:04 | 0.23
| W2 | 563 | 0:25 | 2021-07-08 12:30 | 2021-07-08 03:50 | 0.91
| W3 | 334 | 0:20 | 2021-07-09 10:20 | 2021-07-09 10:40 | 0.66
| W4 | 7552 | 1:11 | 2021-07-12 05:34 | 2021-07-12 06:45 | 0.09
| W5 | 2019 | 4:35 | 2021-07-17 19:25 | 2021-07-18 | 0.09
August | W1 | 4376 | 0:25 | 2021-08-12 17:55 | 2021-08-12 18:20 | 0.06
| W2 | 20928 | 1:01 | 2021-08-19 09:34 | 2021-08-16 10:35 | 0.05
| W3 | 44042 | 1:43 | 2021-08-23 17:02 | 2021-08-23 18:45 | 0.06
Septemeber | W1 | 16842 | 2:46 | 2021-09-01 23:54 | 2021-09-02 02:40 | 2.28
| W2 | 3743 | 0:22 | 2021-09-24 07:56 | 2021-09-24 08:18 | 0.91
October | None
November | None
December | None

## 7th&L 2021
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
Location | 7th&L M2 | Total | Duration | Start | Stop | Rain (inches)
January | None
February | W1 | 59 | 0:20 | 2021-02-16 08:25 | 2021-02-16 08:45 | 1.04
March | None
April | None
May | W1 | 5588 | 1:25 | 2021-05-05 02:05 | 2021-05-05 03:30 | 0.28
June | W1 | 19488 | 0:25 | 2021-06-30 16:35 | 2021-06-30 17:00 | 0.74
July | W1 | 4486 | 0:40 | 2021-07-02 11:45 | 2021-07-02 11:45 | 1.96
| W2 | 4693 | 0:15 | 2021-07-06 02:30 | 2021-07-06 02:45 | 0.11
| W3 | 13869 | 0:30 | 2021-07-08 02:35 | 2021-07-08 03:05 | 0.91
| W4 | 2871 | 0:30 | 2021-07-09 09:25 | 2021-07-09 09:55 | 0.66
| W5 | 4371 | 0:55 | 2021-07-12 04:40 | 2021-07-12 05:35 | 0.09
| W6 | 1107 | 0:05 | 2021-07-12 06:00 | 2021-07-12 06:05
| W7 | 914 | 0:10 | 2021-07-12 08:40 | 2021-07-12 08:50
| W8 | 24827 | 0:25 | 2021-07-17 18:50 | 2021-07-17 19:15 | 0.09
| W9 | 3144 | 1:20 | 2021-07-17 22:10 | 2021-07-17 23:30
| W10 | 2466 | 0:10 | 2021-07-18 03:10 | 2021-07-18 03:20 | 0.08
| W11 | 26641 | 1:20 | 2021-07-18 21:05 | 2021-07-18 22:25
August | None
September | W1 | --- | 1:45 | 2021-09-01 22:40 | 2021-09-02 00:25 | 2.28
| W2 | --- | 0:35 | 2021-09-24 07:05 | 2021-09-24 07:40 | 0.91
November | W1 | 615 | 0:30 | 2021-11-12 12:40 | 2021-11-12 13:10 | 1.4
December | W1 | 385 | 0:15 | 2021-12-11 22:40 | 2021-12-11 22:55 | 0.94
No Gallon Data Given

## Avenue A 2021
MONO002
CSO Outfall Location: 02 42° 36' 16" N 72° 33' 38" W Adjacent to Power Canal
| Ave_A_CSO M2 | Total | Duration | Start | Stop | Rain
January | None
February | None
March | None
April | None
May | None
June | W1 | 55166 | 0:20 | 2021-06-30 16:40 | 2021-06-30 17:00 | 0.54
July | W1 | 3998 | 0:10 | 2021-07-08 02:35 | 2021-07-08 02:45 | 0.91
| W2 | 98588 | 0:25 | 2021-07-17 18:50 | 2021-07-17 19:15 | 0.09
| W3 | 61620 | 0:40 | 2021-07-18 21:15 | 2021-07-18 21:55 | 0.08
August | W1 | 26034 | 0:10 | 2021-08-12 17:10 | 2021-08-12 17:20 | 0.06
| W2 | 22 | 0:05 | 2021-08-19 08:55 | 2021-08-19 09:00 | 0.04
| W3 | 41800 | 1:00 | 2021-08-23 16:45 | 2021-08-23 17:45 | 0.67
September | W1 | 3 | 0:05 | 2021-09-24 07:15 | 2021-09-24 07:20 | 0.91
October | None
November | None
December | None